KITCHENS AND COOKING SAFETY GUIDELINES

INTRODUCTION	1

MANAGERS RESPONSIBILITIES	2

EMPLOYEE RESPONSIBILITIES	2

DETAILED SPECIFIC REQUIREMENTS	3

Information And Training	3

Contractors	3

Routine Checks, Maintenance and Cleaning	3

Provision and Use of Work Equipment Regulations	3

Gas Safety	4

Electrical Safety	4

Pressure Cookers	4

Dangerous Equipment	4

Ventilation Equipment	4

Control of Substances Hazardous to Health (COSHH) Regulations	4

Manual Handling	5

Safety Signs	5

Protective Clothing	5

Barbecue Safety	5

Emergency Procedures	6

FURTHER INFORMATION	6

# INTRODUCTION

This Code covers the safety aspects of kitchens and cooking. For guidance on the food hygiene aspects see Section 9.5 of the BCC Health &Safety Policies and Procedures.

Contracted Out Catering Services

Where contract catering is in operation e.g. schools, exactly who has responsibility for the up keep of the premises and the servicing and maintenance of plant and equipment must be clearly agreed between both parties. This would normally be specified in the contract. The contractor is responsible for the supervision and training of their catering employees.

# MANAGERS RESPONSIBILITIES

The managers of establishments with kitchens/catering facilities under their control (rather than contracted out) are responsible for ensuring that

- Plant, equipment and machinery is tested, inspected, serviced and maintained in accordance with relevant regulations/guidance.

- Employees are properly trained in kitchen safety matters – use of machinery and equipment, manual handling etc.

- The premises are adequately cleaned and maintained.

- Safety risks are assessed and controlled as far as is reasonably practicable. Particular risks include slips and trips, manual handling, contact with hot surfaces, steam and other harmful substances, machinery and hand knives.

- Suitable emergency procedures are drawn up and employees trained appropriately in them.

# EMPLOYEE RESPONSIBILITIES

Employees working in kitchens/catering are responsible for

- Following any training and safe working procedures provided.

- Reporting equipment and premises defects to their line manager.

- Wearing the protective clothing provided.

In addition anyone working in a kitchen must

- Wear flat, non-slip shoes completely covering the toes.

- Make sure all knives are stored safely while not in use.

- Hold knives carefully at the side of the body or in a container when taking them for washing up.

- Not put knives into the sink with water. Wash up individually keeping hold of the handle at all times.

- Use the correct size sharpened knife for the job.

- Clean up all spillages as soon as they happen - use the ‘wet floor’ sign as required.

- Not carry heavy loads that may cause manual handling injuries – split loads down into manageable weights.

- Not carry loads which may cause severe scalding such as large pans of boiling water.

- Visually inspect electrical equipment before use.

- Keep electrical equipment well away from water.

- Not turn on switches with wet or damp hands.

- Ensure broken glass is disposed of safely, use a dustpan and brush and place in a rigid, labelled, container prior to disposal.

- Ensure chemicals are used, stored and disposed of safely according to the COSHH assessment and/or product label/data sheet.

- Follow safe procedures when handling hot equipment and using hobs, ovens etc.

- Follow safe procedures to stop the risk of fires

- Do not leave oil/ fat heating up unattended, and consider the use of a thermostatically controlled deep fat fryer.

- Do not leave gas or electric hobs on without covering with a pan containing food or liquid.

- Do not leave wooden or plastic mixing spoons in pans while cooking

- Make sure chopping boards are firm on the work surface e.g. rest the board on a damp cloth.

# DETAILED SPECIFIC REQUIREMENTS

## Information And Training

Training in the use of specific kitchen equipment must be provided to all employees, this may be provided by reading the instructions or by the equipment manufactures/suppliers if needed.

#### Contractors

Any contractors appointed to install, repair or inspect work equipment must be competent and appointed in accordance with the County Council’s guidelines on the employment of contractors (BCC Health & Safety Policies and Procedures Section 9.4).

## Routine Checks, Maintenance and Cleaning

Systems should be in place for the routine checking, maintenance and cleaning of all kitchen equipment. A formal reporting system should be in place for recording any defects identified.

There should be a system of daily user checks for obvious wear and tear to

- Machine guards

- Gas appliance controls

- Electric plugs and cables

- Ventilation systems

- Equipment which may cause leaks onto floors

## Provision and Use of Work Equipment Regulations

These regulations require that all work equipment (which includes that used in food preparation) must be: -

- suitable for the task for which it will be used

- used in accordance with the manufacturers instructions

- maintained in an efficient state and efficient working order and in good repair

- safe to use by design or adequately guarded

Appropriate records should be kept of the testing, inspection and servicing of equipment and instruction and training given to users of the equipment.

## Electrical Safety

All electrical equipment and the electrical installations in food preparation areas are subject to the Electricity at Work Regulations and must be tested and inspected as appropriate by a competent person, see section 10.3 of the BCC Health & Safety Policies and Procedures. Some kitchen equipment e.g. industrial type peelers or mixers may need to be hard wired to the installation rather than connected by a three-pin plug. If in doubt always consult a competent electrician. Electricians must be NICEIC Registered and on the Councils Standing List of Contractors.

Because of the more demanding environment of kitchens, portable electrical equipment should be inspected and tested more frequently than usual. The minimum recommended frequencies are as follows:

- Visual inspection - daily before use by user.

- Formal visual inspection – six monthly as part of the premises safety inspection by nominated member of staff.

- Combined inspection and test – annually by competent contractor.

These frequencies may be varied subject to a risk assessment being carried out.

## Ventilation Equipment

There must be suitable and sufficient natural or mechanical ventilation in any kitchen.

Any mechanical ventilation system should be sufficient to cope with the expected fume load and be designed to minimise the fan noise. If not cleaned regularly there is a risk of accumulated grease and fat in the hood and ducting igniting causing a fire. Cooker surfaces and the hood should be cleaned daily and filters removed and cleaned regularly. The inside surfaces of ducting and the fan blades should be cleaned at least once every six months.

## Control of Substances Hazardous to Health (COSHH) Regulations

Cleaning materials or pest control chemicals used in kitchens or food preparation areas may be subject to the COSHH regulations and require a COSHH assessment for their use and storage.

Generic risk assessments for such chemicals may be obtained from Hertfordshire Supplies. See section 4.1 of the BCC Health & Safety Policies and Procedures for further details.

## Manual Handling

Manual handling injuries are common in kitchens in order to minimise the risk

- Heavy items should not be stored at floor or above shoulder level.

- Commonly used items should be kept in the most easily accessible cupboards/shelves.

- Consideration should be given to weight and ease of handling (centre of gravity etc) when purchasing kitchen equipment and supplies.

- Wherever possible avoid lifting heavy loads, use smaller pans, trays etc.

## Safety Signs

The following signs are recommended for display in kitchens.

No Smoking

Now wash your hands – in staff toilet area.

Hand Wash - over hand washbasin in kitchen

Dangerous Machinery – adjacent to any dangerous machinery e.g. food slicers

First aid box/First Aiders – location and names

Fire Exit and Assembly Point – as for rest of premises

Drinking Water

Non Drinking Water

A range of easily applied self-adhesive signs is available from the Contract and Service Directory on the Intranet or Schools Web.

All kitchens should have use of at least one floor standing sign or cone, to be used to indicate an area where a spillage has occurred and for use during floor cleaning.

## Protective Clothing

Staff must be provided with appropriate personal protective equipment (PPE) according to a risk assessment done locally. See Section 11.1 of the BCC Health & Safety Policies and Procedures.

Oven gloves must be to at least BS No. 6526:1998 the standard for domestic oven gloves. Ensure oven gloves and cloths are in good repair and dry when used.

Aprons should be made from cotton or plastic coated material. Do not use disposable aprons when ovens, hobs, grills and other heating equipment are used as they may melt onto he skin or clothing of staff.

## Barbecue Safety

Barbecues may be arranged subject to there being an appropriate risk assessment relating to the siting, supervision and organisational arrangements.

Charcoal or gas barbecues may be used. Ensure safe storage of gas cylinders. See section 4.1 of the BCC Health and Safety Policies and Procedures for further details on safe handling of LPG.

#### Location

Ensure the barbecue is carefully sited as near as possible to kitchen facilities but away from pedestrian/traffic routes, fences, refuse areas, ponds and combustible materials.

#### Lighting the Barbecue

Charcoal - Light the charcoal well in advance, making sure that enough charcoal is used. Use firelighters, never use petrol or paraffin to light the barbecue. Wait until it is glowing red with a powdery grey surface before starting cooking. Never pour petrol or paraffin on a lit barbecue.

Gas – Follow manufacturers’ instructions for heating the cooking surface before starting the cooking process.

Ensure that a suitable fire extinguisher (preferably water) is available near by.

See Section 9.5 of the BCC Health & Safety Policies and Procedures for the food hygiene aspects of barbecuing.

## Emergency Procedures

Suitable procedures should be drawn up to deal with any emergency that may arise, including accident, fire, gas leak. Depending on the size of kitchen and degree of risk some or all employees may need to be trained in the safe use of fire extinguishers and may need specific training in dealing with the types of first aid incidents arising in the kitchen environment.

# FURTHER INFORMATION

Health and Safety in Food Preparation Areas, HS (G) 55, Health and Safety Executive

Catering Information Sheets, HSE e.g. Safety during emptying and cleaning of fryers, 17(revised)

A full list of publications relevant to health and safety in catering is listed in HSE Information Sheet No 7, an index of health and safety guidance in the catering industry. Available from HSE Books 01787 881165 or www.hsebooks.co.uk.